## Slide 1: SPP TCR Reference Price Calculation
A review of the SPP TCR Reference Price calculation and a proposal to modify the calculation to reduce over-collateralization
6/15/2017

## Slide 2: Motivation
Why over-collateralization is not good:
  Illiquid market
    Auction values are not reflective of actual market value, but may include the cost of posting such collateral
  Inefficiency
    Lack of counterflow bids may result in high clearing price on paths that affect binding constraints in the prevailing direction
      Auction clearing price becomes less of an efficient forward price.

## Slide 3: Principles
Comply with FERC Order 741
Principles:
  More credit requirements with Increasing volatility
  More credit requirements with Increasing bids
  For new nodes that lack historical data, credit calculation should use historical data of the closest nodes

## Slide 4: More credit requirements with Increasing volatility
Average
$/MWh Congestion Value
On two paths that have the same Monthly value, when they are bid at the same bid price, the more volatile path on the left will be assessed a higher credit requirement

## Slide 5: More credit requirements with Increasing bids
Average
$/MWh Congestion Value
When comparing two bids on the same path, the more expensive bids on the left will be assessed a higher credit requirement
Bid Price 1
Bid Price 2

## Slide 6: Current SPP Reference Price Calculation
How is TCR_REFERENCE_PRICE calculated?
Stress Test Price based on 90%-tile of the opposite value
TCR_REFERENCE_PRICE
Mean
ETCRE farther away from Mean even though the distribution of value is the same as previous

## Slide 7: Current SPP Reference Price Calculation Comparing Published v. Calculated Jun_17 OFF
Source | Sink | Reference Price in $/MWh
OKGECENTWIND | OKGESNRWIND | 31.28
OKGEKEENANWIND | CSWSLEEPINGBEAR | 24.91
OKGECENTWIND | WR.MW.GMEC.MW | 17.01
Downloaded Hourly Reference Price $/MWh
Calculated Reference Price $/MWh
Source | Sink | Reference Price in $/MWh
OKGESNRWIND | WR.MW.GMEC.MW | -43.24
INDN_MWE_SMKY2 | CSWMAJESTICWIND | -25.47
Source | Sink | Reference Price in $/MWh
SECI.FPLP.GRAYWIND | WAUE.BEPM.BRADY1 | 0
Calculation matches closely with the SPP published Reference Price

## Slide 8: Proposing a Reference Price Calculation
Reflects the “statistical” worst-case congestion value of a particular TCR path for a particular period.
Such that when the product is bid at a particular bid price, the credit requirement corresponds to the spread between the bid price and the “statistical” worst-case congestion value.

## Slide 9: Calculating Statistical Worst Case
Given a particular path, we can “simulate” a Monthly value as follows: (suppose there are 400 relevant hours in a given Month)
  Step 1: Formulate distribution of the hourly congestion values
  Step 2: Draw from the distribution until we collect 400 hourly samples
  Step 3: Sum the 400 hourly samples to produce one Monthly sample, repeat Step 2 and 3 to get the next sample until we reach N samples
Given the N Monthly samples, we can say what is the statistical worst-case
  5%-tile is generally used when identifying a statistical worst-case

## Slide 10: Example of Simulating Monthly Congestion
An example of a TCR Path in Jun_16 OFF OKGESNRWIND to OKGECENTWIND
June 2016 OFF
0% 5% 10% 25% 50% Mean
-127.10960 -72.34076 -60.62520 -45.39283 -31.41060 -32.20895
Frequency
Hourly Congestion $/MWh

## Slide 11: Example of Simulating Monthly Congestion
Generating one Monthly sample from sampling the hourly distribution independently

## Slide 12: Example of Simulating Monthly Congestion
Monthly Congestion $/MW
Frequency
Simulated of Monthly Value based on June 2016 OFF Hourly Samples
0% 5% 10% 25% 50% Mean
-14396.39 -13564.46 -13411.86 -13129.72 -12844.96 -12828.47

## Slide 13: Example of Simulating Monthly Congestion
Hourly Value:
Simulated Monthly Value:
Monthly Average ~= 400 * Hourly Average
June 2016 OFF
0% 5% 10% 25% 50% Mean
-127.10960 -72.34076 -60.62520 -45.39283 -31.41060 -32.20895
Simulated of Monthly Value based on June 2016 OFF Hourly Samples
0% 5% 10% 25% 50% Mean
-14396.39 -13564.46 -13411.86 -13129.72 -12844.96 -12828.47

## Slide 14: Example of Simulating Monthly Congestion
Hourly Value:
Simulated Monthly Value:
Monthly Average width = -12828 – (-13564) = 736
Hourly Average width = -32 – (-72) = 40.13181
The ratio is about ~20 = sqrt(400)
June 2016 OFF
0% 5% 10% 25% 50% Mean
-127.10960 -72.34076 -60.62520 -45.39283 -31.41060 -32.20895
Simulated of Monthly Value based on June 2016 OFF Hourly Samples
0% 5% 10% 25% 50% Mean
-14396.39 -13564.46 -13411.86 -13129.72 -12844.96 -12828.47

## Slide 15: Central Limit Theorem
Losely: sum of N independent samples of any probability distribution will follow a normal distribution
We can estimate Worst-Case value:
Where Y is the Hourly values and H is the number of hours in a period

## Slide 16: Independence Sampling
Applying Central Limit Theorem underestimates the Monthly variance when the hourly samples are not independent.
  May employ a correction factor Instead of . What is a good

## Slide 17: Comparing Reference Price to Statistical Worst-Case Value
Source | Sink | Reference Price in $/MWh | 5%-tile | 2%-tile | 50%-tile
OKGECENTWIND | OKGESNRWIND | 31.28 | 30.53 | 30.53 | 32.17
OKGEKEENANWIND | CSWSLEEPINGBEAR | 24.91 | 24.35 | 24.35 | 25.65
OKGECENTWIND | WR.MW.GMEC.MW | 17.01 | 18.87 | 18.82 | 19.72
Downloaded Hourly Reference Price $/MWh
Calculated Statistical Worst-Case Value $/MWh
Source | Sink | Reference Price in $/MWh | 5%-tile | 2%-tile | 50%-tile
OKGESNRWIND | WR.MW.GMEC.MW | -43.24 | -13.40 | -14.10 | -12.34
INDN_MWE_SMKY2 | CSWMAJESTICWIND | -25.47 | -8.67 | -9.00 | -7.27
Showing Reference Price results in much higher credit requirements on paths that are generally negatively congested
50%-tile
5%-tile
2%-tile
Statistical Worst Case
Statistical Worst Case
Statistical Worst Case

## Slide 18: An assessment of how much we are over-collateralizing or under-collateralizing
Backtesting

## Slide 19: Backtesting Method
Current credit requirement is a function of the Bid Curve and the Reference Price.
We can apply the same function to the actual value

## Slide 20: Backtesting Method
We assess Over-Collateralization if the collateral requirements using Reference Price is higher than using the Actual Value.
>
Similarly, we can assess Under-Collateralization

## Slide 21: Which bids do we consider?
All Bids
Bids requiring Collateral
Over-Collateralization
Under-Collateralization

## Slide 22: Which bids do we consider? (2)
We do not look at the bids that do not require collateral under RefPrice
  Specifically, paths that are heavily negatively congested while historically are positively congested are excluded from this analysis
  Excluding these bids is appropriate unless we consider Reference Price calculation that understands topological changes on the relevant month

## Slide 23: Amount of Collateralization
$12.5M
$10.0M
$7.5M
$5M
$2.5M
$0
Amount of Collateralization ($)

## Slide 24: Over / Under Collateralization in $
Under-Collateralized
Over-Collateralized
$5M
$0M
-$5M
-$10M
3.6M
5.0M
4.9M
-6.3M
-2.4M
-2.6M

## Slide 25: Over-Collateralization in Pct of Bids

## Slide 26: Under-Collateralization in Pct of Bids

## Slide 27: Equal-Collateralization in Pct of Bids
Zero collateral is requested in both Actual and the referred Method

## Slide 28: Over-Under by bids
Under-Collateralized
Over-Collateralized
Under-Collateralized
Over-Collateralized
Credit Required
Using Today RefPrice
Credit Required using Statistical Worst Case
Under-Collateralized using StatisticalWorst
But Over-Collateralized using today RefPrice

## Slide 29: Over-Under in more details for Winter_16 OFF (1104 bids)
MPSSIBLEYUN3 to MPS_MPS:
RefPrice: $-0.76 $/MWh
Statistical Worst: $-0.35 $/MWh
Actual: -0.07 $/MWh
The size of $ is also influenced by the number of hours in a given period. For Winter_16 OFF it is 1543 hours. The size of $ is also influenced by the amount of MW requested: 335 MW.
NPPD_COOPR to NPPD_NPPD:
RefPrice: $-0.85 $/MWh
Statistical Worst: $-0.05 $/MWh
Actual: -0.91 $/MWh
Statistical worst-case is skewed due to positive congestion in March 2015.
The size of $ is also influenced by the number of hours in a given period. For Winter_16 OFF it is 1543 hours. The size of $ is also influenced by the amount of MW requested. Cooper is a big nuclear unit.
SPS.PANTEXWND to CSWMAJESTICWIND
RefPrice: $-31.61 $/MWh
Statistical Worst: $-4.45 $/MWh
Actual: -0.64 $/MWh
Bid:
0 MW at -5 $/MWh
10 MW at -7 $/MWh
Reference Price is skewed due to high negative congestion in January – March 2016
-$200K
-$400K
$400K
$200K
$0
-$200K
-$400K
$400K
$200K
$0

## Slide 30: Over / Under Collateralization Ratio
Using Statistical Worst Case of 5%-tile:
  Savings Market Participants over-collateralization: $44,967,333
  For the risk of under-collateralizing: 9,046,537
  Or a ratio of 5.0
Using Statistical Worst Case of 2%-tile:
  A ratio of 4.8
MethodType | Over-Collateralized ($) | Under-Collateralized ($) | Over-Collateralized #Bids | Under-Collateralized #Bids
CreditRequired | $ (80,512,746) | $ 29,065,516 | 16,366 | 4,545
CreditRequiredStats05 | $ (35,545,413) | $ 38,112,053 | 12,684 | 5,918
CreditRequiredStats02 | $ (41,092,204) | $ 37,258,709 | 13,279 | 5,655

## Slide 31: Observations
Comparing to today Reference Price in Annual Auction of PY2016-2017
  While Statistical Worst results in more under-collateralization by $9M, it provides a savings of over-collateralization by $45M
  The Under-Over Collateralization Charts show that for most bids the credit requirements using Statistical Worst and Today Reference Price are comparable (following the diagonal lines).
    The savings on the over-collateralization and under-collateralization are on Winter periods with many hours (OFF/ON: 1543/1361 hours) and high MW bids.
    More savings on the over-collateralization is due to zero collateral bids using Statistical Worst method but significant amount of collateral is required using today reference price.
      Namely, bid price is lower than Statistical Worst and Actual congestion but higher than Today Reference Price.
    Over-Under Collateralization Charts for all periods are included in the Appendix section.

## Slide 32: Credit Requirements
Credit Requirement is calculated based on Bid Price and the Reference Price

## Slide 33: Proposal #1
Replace current calculation of Reference Price with Statistical Worst-Case Value

## Slide 34
Credit calculation involving new nodes

## Slide 35: New Nodes
Currently Reference Price calculation for paths involving new nodes will use the MCC average across all SPP points
  But by definition, the MCC congestion pricing if weighted by load power withdrawal is equal to zero.
  If sink points in general have negative MCC (like in Sunflower, Nebraska, or Westar), then most likely any paths sourcing at new nodes will require credits
  If sink points in general have positive MCC (like in OKGE, EDE, or WFEC), then most likely any paths sourcing at new nodes will require credits
And what about when both Source and Sink are new nodes. For example the path SECI.FPLP.GRAYWIND to WAUE.BEPM.BRADY1?
  Currently Reference Price for such path is zero.

## Slide 36: If we look at the new paths
Over / Under collateralization on paths that are flagged with YEAR_1_PROXY_PRICE_IND
Method | Over-Collateralization ($) | Under-Collateralization ($) | Over-Collateralization #Bids | Under-Collateralization #Bids
CreditRequired | $ (14,433,413) | $ 3,699,350 | 2,995 | 680
CreditRequiredStats05 | $ (7,200,098) | $ 4,071,253 | 2,476 | 813
CreditRequiredStats02 | $ (7,545,183) | $ 4,040,428 | 2,490 | 808

## Slide 37: Proposal #2
On calculating the reference price for paths involving New Nodes, SPP will use historical data of the node that is physically closest to the new node.

## Slide 38: Contact
Justin Riddell
jriddell@teainc.org
Yohan Sutjandra
ysutjandra@teainc.org

## Slide 39
Appendix

## Slide 40: OKGECENTWIND to OKGESNRWIND
Reference Price is exactly at Mean Price of 31.28 $/MWh
Texas
Oklahoma
Map Source: YesEnergy
June 2016 OFF
5% 10% 25% 50%
0.00030 3.18864 13.48485 31.41060

## Slide 41: OKGESNRWIND to WR.MW.GMEC.MW
Reference Price is -43.24 $/MWh is further out compared to the 5% tile.
Map Source: YesEnergy
Oklahoma
Texas
Kansas
June 2016 OFF
5% 10% 25% 50%
-32.28321 -24.57508 -19.17780 -11.91885

## Slide 42: SECI.FPLP.GRAYWIND to WAUE.BEPM.BRADY1
Both nodes are new nodes, current SPP Reference Price calculation results in 0 $/MW, for both directions
Map Source: YesEnergy
January 2017 – April 2017 OFF
5% 10% 25% 50% Mean
-3.518920 -0.422220 0.820550 4.720600 6.193856

## Slide 43
-$200K
-$400K
$400K
$200K
$0
-$200K
-$400K
$400K
$200K
$0

## Slide 44
-$200K
-$400K
$400K
$200K
$0
-$200K
-$400K
$400K
$200K
$0

## Slide 45
-$200K
-$400K
$400K
$200K
$0
-$200K
-$400K
$400K
$200K
$0

## Slide 46
-$200K
-$400K
$400K
$200K
$0
-$200K
-$400K
$400K
$200K
$0

## Slide 47
-$200K
-$400K
$400K
$200K
$0
-$200K
-$400K
$400K
$200K
$0

## Slide 48
-$200K
-$400K
$400K
$200K
$0
-$200K
-$400K
$400K
$200K
$0

## Slide 49
-$200K
-$400K
$400K
$200K
$0
-$200K
-$400K
$400K
$200K
$0

## Slide 50
-$200K
-$400K
$400K
$200K
$0
-$200K
-$400K
$400K
$200K
$0

## Slide 51
-$200K
-$400K
$400K
$200K
$0
-$200K
-$400K
$400K
$200K
$0

## Slide 52
-$200K
-$400K
$400K
$200K
$0
-$200K
-$400K
$400K
$200K
$0

## Slide 53
-$200K
-$400K
$400K
$200K
$0
-$200K
-$400K
$400K
$200K
$0

## Slide 54
-$200K
-$400K
$400K
$200K
$0
-$200K
-$400K
$400K
$200K
$0

## Slide 55
-$200K
-$400K
$400K
$200K
$0
-$200K
-$400K
$400K
$200K
$0